## Exp Codes
Summary of Experiments
EXPERIMENT CODE | Number of spectra | Tables fom NMR Study documentation Version 5 |  |  | Additional Codes |  | Partner | Total by Institution | D1A | D2A | D2B | D2C | D2D | D2E | D3A | D3B | E1 | E1A | E1B | E1C | E2 | E2N | E2A | E2B | E2C
D1A | 30 | 1H,15N-gsHSQC | SSS | US, field dependent (Table 4) | -S | SSS | 1247 | 12 | 1 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 5 | 0 | 2 | 0 | 0 | 0 | 0 | 0
D2A | 39 | 1H,13C-gsHSQC | SSS | US, 128 pts | -F | NIST-Fab | 1894 | 8 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 4 | 0 | 0 | 1 | 0 | 0 | 0 | 0
D2B | 32 | 1H,13C-gsHSQC | SSS | NUS | -U | US | 2146 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
D2C | 41 | 1H,13C-gsHSQC | SSS | US, field dependent, 25ms acquisition (Table 6) | -N | NUS | 2461 | 8 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
D2D | 31 | 1H,13C-gsHSQC | SSS | NUS |  |  | 2974 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
D2E | 26 | 1H,13C-gsHSQC | SSS | NUS, NS 2x of D2D |  |  | 3655 | 4 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0
D3A | 47 | 1H,13C-gsHSQC | NIST-Fab | US, field dependent (Table 6) |  |  | 3676 | 6 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0
D3B | 36 | 1H,13C-gsHSQC | NIST-Fab | NUS, 25ms acquisition |  |  | 3897 | 24 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 4233 | 88 | 2 | 3 | 2 | 3 | 2 | 2 | 4 | 4 | 0 | 15 | 32 | 12 | 0 | 0 | 4 | 0 | 3
E1 | 7 | 1H,13C-gsHSQC | one parameter change from experiments D; if NUS, NIST NUS schedule used |  |  |  | 4533 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 1 | 0
E1A | 45 | 1H,13C-gsHSQC | custom NUS schedule |  |  |  | 5417 | 20 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
E1B | 48 | 1H,13C-gsHSQC | Temperature change |  |  |  | 5422 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
E1C | 23 | 1H,13C-sfHMQC | sfhmqc |  |  |  | 5479 | 10 | 0 | 1 | 0 | 1 | 1 | 1 | 2 | 2 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0
E2 | 11 | 1H,15N-gsHSQC | one parameter change from D1A, US only |  |  |  | 5487 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
E2N | 2 | 1H,15N-gsHSQC | custom NUS schedule |  |  |  | 6211 | 12 | 0 | 1 | 4 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0
E2A | 14 | 1H,15N-gsHSQC | Temperature change |  |  |  | 6272 | 21 | 0 | 3 | 2 | 3 | 3 | 1 | 2 | 2 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 1 | 1
E2B | 8 | 1H,15N-pHSQC | phase sensitive HSQC |  |  |  | 6324 | 23 | 1 | 2 | 1 | 2 | 1 | 1 | 2 | 0 | 0 | 5 | 3 | 0 | 0 | 1 | 3 | 1 | 0
E2C | 11 | 1H,15N-sfHMQC | sfhmqc |  |  |  | 7244 | 16 | 2 | 2 | 2 | 3 | 2 | 1 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 7425 | 16 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total 1H,13C Spectra |  | 375 |  |  |  |  | 8179 | 13 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 5 | 1 | 0 | 0 | 0 | 1 | 1 | 1
Total 1H,15N Spectra |  | 76 |  |  |  |  | 8473 | 8 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0
TOTAL SPECTRA |  | 451 |  |  |  |  | 8495 | 21 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 8543 | 9 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 8822 | 65 | 4 | 3 | 3 | 3 | 3 | 3 | 9 | 4 | 0 | 0 | 10 | 7 | 0 | 1 | 6 | 3 | 6
[7 empty] | 9516 | 8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 9936 | 10 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0
[7 empty] | 9963 | 7 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | 9966 | 7 | 1 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | SUM | 451 | 30 | 39 | 32 | 41 | 31 | 26 | 47 | 36 | 7 | 45 | 48 | 23 | 11 | 2 | 14 | 8 | 11

## 1247
Key
Participant Code | 1247 | randomized code assigned by NAPT
Field Strength (MHz) | 600
Comments | accepted data |  | Custom NUS Schedules |  | 1247 log files indicate NIST schedules used, but actual NUS schedules are customized
used Topspin 3. 5 to generate schedules;NusAMOUNT: 50%; NusJSP: 0; NusT2: 1; NusSEED: 54321
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
1247-001 | D2A-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns =256
1247-002 | E1A-S-N | 13C,1H gHSQC | SSS | 600 | custom, 128pts, 50% | 310 | ns =256; relabeled as E1A experimental type - did not use NIST schedule
1247-003 | D2C-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns =256
1247-004 | E1A-S-N | 13C,1H gHSQC | SSS | 600 | custom, 25 ms, 50% | 310 | ns =256; relabeled as E1A experimental type
1247-005 | E1A-S-N | 13C,1H gHSQC | SSS | 600 | custom, 128pts, 50% | 310 | ns =256, relabeled as E1A experimental type
1247-006 | E1C-S-U | 13C,1H sfHMQC | SSS | 600 | US | 310 | ns =256, U-15N,_20%-13C_NIST-Fab,_Optional_Exp_1c_(SOFAST-HMQC) using_sfhmqcf2gpph_pulse_sequence,_PC9_with_a_120_deg_flip_angle_and_a_4ppm_bandwid th,_Rsnob_refocusing_pulse,_and_128_increments;
1247-007 | E1A-S-N | 13C,1H gHSQC | SSS | 600 | custom, 25 ms, 50% | 310 | ns =512
1247-008 | E1C-S-U | 13C,1H sfHMQC | SSS | 600 | US | 310 | ns =256,Optional_Exp_1c_(SOFAST-HMQC) using_sfhmqcf2gpph_pulse_sequence,_PC9_with_a_120_deg_flip_angle_and_a_4ppm_bandwid th,_Rsnob_refocusing_pulse,_and_acquisition_time_in_F1_of_25_ms;
1247-009 | D1A-S-U | 15N,1H gHSQC | SSS | 600 | US | 310 | ns =1024
1247-010 | E1-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310 | ns =2048, exp D3A, power outage stopped acquisition after 140 total points; relabeled as E1-type experiment due to reduced resolution
1247-011 | E1-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310 | ns =2048, exp D3A, power outage stopped acquisition after 115 total points (truncated to 114 total points); relabeled as E1-type experiment due to reduced resolution
1247-012 | E1A-F-N | 13C,1H gHSQC | NIST-Fab | 600 | custom, 25 ms, 50% | 310 | NS = 2048

## 1894
Key
Participant Code | 1894 | randomized code assigned by NAPT
Field Strength (MHz) | 600
Comments | Dispersive peaks in 1H dimension. This is a known hardware problem to the participant for several years. Permission has been granted to use the data.
| accepted data |  | Custom NUS Schedules |  | Sparse (Kupce) NUS Sampling
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
1894-101 | E2-S-U | 15N,1H gHSQC | SSS | 600 | US | 310 | Exp run with only 84 total points instead of 98 total points; low S/N
1894-102 | D2A-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | dispersive peaks in 1H dimension; low S/N
1894-103 | E1A-S-N | 13C,1H gHSQC | SSS | 600 | custom. 125pts 50% NUS | 310 | dispersive peaks in 1H dimension; low S/N
1894-104 | D2C-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | dispersive peaks in 1H dimension; low S/N
1894-105 | E1A-S-N | 13C,1H gHSQC | SSS | 600 | custom. 224pts 50% NUS | 310 | dispersive peaks in 1H dimension; low S/N
1894-106 | E1A-S-N | 13C,1H gHSQC | SSS | 600 | custom. 224pts 50% NUS | 310 | dispersive peaks in 1H dimension
1894-107 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310
1894-108 | E1A-F-N | 13C,1H gHSQC | NIST-Fab | 600 | custom. 224pts 50% NUS | 310

## 2146
Key
Participant Code | 2146 | randomized code assigned by NAPT
Field Strength (MHz) | 800
Comments | accepted data | Note: NUS spectra collected on Topspin 2 using a vclist. The dispersive CH2 peaks are due to a pulse program error.
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
2146-001 | D1A-S-U | 15N,1H gHSQC | SSS | 800 | US | 310
2146-002 | D2A-S-U | 13C,1H gHSQC | SSS | 800 | US | 310
2146-003 | D2B-S-N | 13C,1H gHSQC | SSS | 800 | Sched 1 | 310 | CH2 peaks cannot be phased
2146-004 | D2C-S-U | 13C,1H gHSQC | SSS | 800 | US | 310
2146-005 | D2D-S-N | 13C,1H gHSQC | SSS | 800 | Sched 2, 800 MHz | 310 | CH2 peaks cannot be phased
2146-006 | D2E-S-N | 13C,1H gHSQC | SSS | 800 | Sched 2, 800 MHz | 310 | CH2 peaks cannot be phased
2146-007 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 800 | US | 310
2146-008 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 800 | Sched 2, 800 MHz | 310 | All peaks can be phased

## 2461
Key
Participant Code | 2461 | randomized code assigned by NAPT
Field Strength (MHz) | 800
Comments | accepted data
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
NMR2461-101 | D1A-S-U | 15N,1H gHSQC | SSS | 800 | US | 310 | ns = 64; could not fully phase 1H dimension; low S/N
NMR2461-102 | D2A-S-U | 13C,1H gHSQC | SSS | 800 | US | 310 | ns = 128
NMR2461-103 | D2B-S-N | 13C,1H gHSQC | SSS | 800 | Sched 1 | 310 | ns = 128
NMR2461-104 | D2C-S-U | 13C,1H gHSQC | SSS | 800 | US | 310 | ns = 128
NMR2461-105 | D2D-S-N | 13C,1H gHSQC | SSS | 800 | sched 2, 800 MHz | 310 | ns = 128
NMR2461-106 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 800 | US | 310 | ns = 384
NMR2461-107 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 800 | sched 2, 800 MHz | 310 | ns = 384, very low S/N
NMR2461-108 | E2B-F-U | 15N,1H pHSQC | NIST-Fab | 800 | US | 310 | ns = 64

## 2974
Key
Participant Code | 2974 | randomized code assigned by NAPT
Field Strength (MHz) | 750
Comments | accepted
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
2974-001 | D1A-S-U | 15N,1H gHSQC | SSS | 750 | US | 310 | 64 scans
2974-002 | D2A-S-U | 13C,1H gHSQC | SSS | 750 | US | 310 | 64 scans
2974-003 | D2B-S-N | 13C,1H gHSQC | SSS | 750 | Sched 1 | 310 | 64 scans
2974-004 | D2C-S-U | 13C,1H gHSQC | SSS | 750 | US | 310 | 64 scans
2974-005 | D2D-S-N | 13C,1H gHSQC | SSS | 750 | Sched 2, 750 MHz | 310 | 64 scans
2974-006 | D2E-S-N | 13C,1H gHSQC | SSS | 750 | Sched 2, 750 MHz | 310
2974-007 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 750 | US | 310 | 980 scans
2974-008 | D3B-F-U | 13C,1H gHSQC | NIST-Fab | 750 | Sched 2, 750 MHz | 310 | 980 scans

## 3655
Key
Participant Code | 3655 | randomized code assigned by NAPT
Field Strength (MHz) | 850
Comments | accepted | Note: This participant only performed 2 experiments according with the requested parameters.
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
3655-101 | E2-S-U | 15N,1H gHSQC | SSS | 850 | US | 310 | ns = 16; performed with shorter sweepwidth in 15N dimension; low S/N
3655-102 | D2C-S-U | 13C,1H gHSQC | SSS | 850 | US | 310 | ns = 8
3655-103 | E2-F-U | 15N,1H gHSQC | NIST-Fab | 850 | US | 310 | ns = 1536
3655-104 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 850 | US | 310 | ns = 128

## 3676
Key
Participant Code | 3676 | randomized code assigned by NAPT
Field Strength (MHz) | 700
Comments | accepted | Note: 1H,13C spectra have doublets in 1H dimension
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
3676-101 |  | 15N,1H gHSQC | SSS | 700 | US | 310 | corrupt dataset
3676-102 | D2A-S-U | 13C,1H gHSQC | SSS | 700 | US | 310 | ns = 8, many doublets in 1H dimension (around 20 Hz splitting)
3676-103 | E2-F-U | 15N,1H gHSQC | NIST-Fab | 700 | US | 310 | ns = 512;
3676-104 | E1-F-U | 13C,1H gHSQC | NIST-Fab | 700 | US | 310 | ns = 1024, 128 total points in t1, many doublets in 1H dimension (around 20 Hz splitting)
3676-105 | D2C-S-U | 13C,1H gHSQC | SSS | 700 | US | 310 | ns = 1024, many doublets in 1H dimension (around 20 Hz splitting)
3676-106 | E1A-S-N | 13C,1H gHSQC | SSS | 700 | Sched 2 | 310 | ns = 1024, many doublets in 1H dimension (around 20 Hz splitting)
3676-107 | E2-F-U | 15N,1H gHSQC | NIST-Fab | 700 | US | 310 | ns = 1024, poor water suppression

## 3897
Key
Participant Code | 5422 | randomized code assigned by NAPT
Field Strength (MHz) | 600 | 500 | 600
Comments | accepted
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
3897-001 | D1A-S-U | 15N,1H gHSQC | SSS | 600 | US | 310 | ns = 192
3897-002 | D2A-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 32
3897-003 | D2B-S-N | 13C,1H gHSQC | SSS | 600 | Sched 1 | 310 | ns = 32
3897-004 | D2C-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 32
3897-005 | D2D-S-N | 13C,1H gHSQC | SSS | 600 | sched 2, 600 MHz | 310 | ns = 32
3897-006 | D2E-S-N | 13C,1H gHSQC | SSS | 600 | sched 2, 600 MHz | 310 | ns = 64
3897-007 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310 | ns = 320
3897-008 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 600 | sched 2, 600 MHz | 310 | ns = 320
3897-009 | D1A-S-U | 15N,1H gHSQC | SSS | 500 | US | 310 | ns = 256
3897-010 | D2A-S-U | 13C,1H gHSQC | SSS | 500 | US | 310 | ns = 32
3897-011 | D2B-S-N | 13C,1H gHSQC | SSS | 500 | Sched 1 | 310 | ns = 32
3897-012 | D2C-S-U | 13C,1H gHSQC | SSS | 500 | US | 310 | ns = 32
3897-013 | D2D-S-N | 13C,1H gHSQC | SSS | 500 | sched 2, 500 MHz | 310 | ns = 32
3897-014 | D2E-S-N | 13C,1H gHSQC | SSS | 500 | sched 2, 500 MHz | 310 | ns = 64
3897-015 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 500 | US | 310 | ns = 400
3897-016 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 500 | sched 2, 500 MHz | 310 | ns = 400
3897-017 | D1A-S-U | 15N,1H gHSQC | SSS | 600 | US | 310 | ns = 192
3897-018 | D2A-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 32
3897-019 | D2B-S-N | 13C,1H gHSQC | SSS | 600 | Sched 1 | 310 | ns = 32
3897-020 | D2C-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 32
3897-021 | D2D-S-N | 13C,1H gHSQC | SSS | 600 | sched 2, 600 MHz | 310 | ns = 32
3897-022 | D2E-S-N | 13C,1H gHSQC | SSS | 600 | sched 2, 600 MHz | 310 | ns = 64
3897-023 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310 | ns = 320
3897-024 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 600 | sched 2, 600 MHz | 310 | ns = 320

## 4233
Key
Participant Code | 4233 | randomized code assigned by NAPT
Field Strength (MHz) | 700 | 600
Comments | ACCEPTED | Custom NUS Schedules |  | used Topspin 3.5 to generate Bruker NUS schedules; Also use SineGap and SineBurst algorithms
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
4233-101 | D1A-S-U | 15N,1H gHSQC | SSS | 700 | US | 310 | ns = 64
4233-102 | D2A-S-U | 13C,1H gHSQC | SSS | 700 | US | 310 | ns = 64
4233-103 | D2B-S-N | 13C,1H gHSQC | SSS | 700 | Sched 1 | 310 | ns = 64
4233-104 | D2C-S-U | 13C,1H gHSQC | SSS | 700 | US | 310 | ns = 64
4233-105 | D2D-S-N | 13C,1H gHSQC | SSS | 700 | sched 2, 700 MHz | 310 | ns = 64
4233-106 | D2E-S-N | 13C,1H gHSQC | SSS | 700 | sched 2, 700 MHz | 310 | ns = 128
4233-107 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 700 | US | 310 | ns = 256,
4233-108 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 700 | sched 2, 700 MHz | 310 | ns = 256
4233-109 | D1A-S-U | 15N,1H gHSQC | SSS | 600 | US | 310 | ns = 64
4233-110 | D2A-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 64
4233-111 | D2B-S-N | 13C,1H gHSQC | SSS | 600 | Sched 1 | 310 | ns = 64
4233-112 | D2C-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 64,
4233-113 | D2D-S-N | 13C,1H gHSQC | SSS | 600 | sched 2, 600 MHz | 310 | ns = 64
4233-114 | D2E-S-N | 13C,1H gHSQC | SSS | 600 | sched 2, 600 MHz | 310 | ns = 128
4233-115 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310 | ns = 256,
4233-116 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 600 | sched 2, 600 MHz | 310 | ns = 256
4233-117 | E2A-S-U | 15N,1H gHSQC | SSS | 700 | US | 318 | ns = 64, same settings as exp 101 (D1A-S-U)
4233-118 | E1B-S-U | 13C,1H gHSQC | SSS | 700 | US | 318 | ns = 64, same settings as exp 102 (D2A-S-U)
4233-119 | E1B-S-N | 13C,1H gHSQC | SSS | 700 | Sched 1 | 318 | ns = 64, same settings as exp 103 (D2B-S-N)
4233-120 | E1B-S-U | 13C,1H gHSQC | SSS | 700 | US | 318 | ns = 64,
4233-121 | E1B-S-N | 13C,1H gHSQC | SSS | 700 | sched 2, 700 MHz | 318 | ns = 64, same settings as exp 105 (D2D-S-N)
4233-122 | E1B-S-N | 13C,1H gHSQC | SSS | 700 | sched 2, 700 MHz | 318 | ns = 128, same settings as exp 106 (D2E-S-N)
4233-123 | E2A-S-U | 15N,1H gHSQC | SSS | 700 | US | 323 | ns = 64, same settings as exp 101 (D1A-S-U)
4233-124 | E1B-S-U | 13C,1H gHSQC | SSS | 700 | US | 323 | ns = 64, same settings as exp 102 (D2A-S-U)
4233-125 | E1B-S-N | 13C,1H gHSQC | SSS | 700 | Sched 1 | 323 | ns = 64, same settings as exp 103 (D2B-S-N)
4233-126 | E1B-S-U | 13C,1H gHSQC | SSS | 700 | US | 323 | ns = 64,
4233-127 | E1B-S-N | 13C,1H gHSQC | SSS | 700 | sched 2, 700 MHz | 323 | ns = 64, same settings as exp 105 (D2D-S-N)
4233-128 | E1B-S-N | 13C,1H gHSQC | SSS | 700 | sched 2, 700 MHz | 323 | ns = 128, same settings as exp 106 (D2E-S-N)
4233-129 | E1B-F-U | 13C,1H gHSQC | NIST-Fab | 700 | US | 318 | ns = 256,
4233-130 | E1B-F-N | 13C,1H gHSQC | NIST-Fab | 700 | sched 2, 700 MHz | 318 | ns = 256, same settings as exp 107(D3B-F-N)
4233-131 | E1B-F-U | 13C,1H gHSQC | NIST-Fab | 700 | US | 323 | ns = 256
4233-132 | E1B-F-N | 13C,1H gHSQC | NIST-Fab | 700 | sched 2, 700 MHz | 323 | ns = 256, same settings as exp 107(D3B-F-N)
4233-133 | E1A-S-N | 13C,1H gHSQC | SSS | 700 | custom NUS | 310 | ns = 64, same settings as exp 103 (D2B-S-N)
4233-134 | E1A-S-N | 13C,1H gHSQC | SSS | 700 | custom NUS | 310 | ns = 64, same settings as exp 103 (D2D-S-N)
4233-135 | E1A-S-N | 13C,1H gHSQC | SSS | 700 | custom NUS | 310 | ns = 128, same settings as exp 103 (D2E-S-N)
4233-136 | E2C-S-U | 15N,1H sfHMQC | SSS | 700 | US | 310 | ns = 64, sfhmqc, pC90 excitation; Reburp refocusing, other settings the same as exp 101 (D1A-S-U)
4233-137 | E1C-S-U | 13C,1H sfHMQC | SSS | 700 | US | 310 | ns = 64, sfhmqc, pC90 excitation; Reburp refocusing, other settings the same as exp 102 (D2A-S-U); shows 150 MHz 13C frequency
4233-138 | E1C-S-U | 13C,1H sfHMQC | SSS | 700 | US | 310 | ns = 64, sfhmqc, pC90 excitation; Reburp refocusing, other settings the same as exp 104 (D2C-S-U); shows 150 MHz 13C frequency
4233-139 | E2C-S-U | 15N,1H sfHMQC | SSS | 700 | US | 310 | ns = 64, sfhmqc, pC120 excitation; Rsnob refocusing,
4233-140 | E1C-S-U | 13C,1H sfHMQC | SSS | 700 | US | 310 | ns = 64, sfhmqc, pC120 excitation; Rsnob refocusing, other settings the same as exp 102 (D2A-S-U); shows 150 MHz 13C frequency
4233-141 | E1C-S-U | 13C,1H sfHMQC | SSS | 700 | US | 310 | ns = 64, sfhmqc, pC120 excitation; Rsnob refocusing, other settings the same as exp 102 (D2C-S-U); shows 150 MHz 13C frequency
4233-142 | E2A-S-U | 15N,1H gHSQC | SSS | 600 | US | 318 | ns = 64, same settings as exp 109 (D1A-S-U)
4233-143 | E1B-S-U | 13C,1H gHSQC | SSS | 600 | US | 318 | ns = 64, same settings as exp 110 (D2A-S-U)
4233-144 | E1B-S-N | 13C,1H gHSQC | SSS | 600 | Sched 1 | 318 | ns = 64, same settings as exp 111 (D2B-S-N)
4233-145 | E1B-S-U | 13C,1H gHSQC | SSS | 600 | US | 318 | ns = 64,
4233-146 | E1B-S-N | 13C,1H gHSQC | SSS | 600 | sched 2, 600 MHz | 318 | ns = 64, same settings as exp 113 (D2D-S-N)
4233-147 | E1B-S-N | 13C,1H gHSQC | SSS | 600 | sched 2, 600 MHz | 318 | ns = 128, same settings as exp 114 (D2E-S-N)
4233-148 | E2A-S-U | 15N,1H gHSQC | SSS | 600 | US | 323 | ns = 64, same settings as exp 109 (D1A-S-U)
4233-149 | E1B-S-U | 13C,1H gHSQC | SSS | 600 | US | 323 | ns = 64, same settings as exp 110 (D2A-S-U)
4233-150 | E1B-S-N | 13C,1H gHSQC | SSS | 600 | Sched 1 | 323 | ns = 64, same settings as exp 111 (D2B-S-N)
4233-151 | E1B-S-U | 13C,1H gHSQC | SSS | 600 | US | 323 | ns = 64,
4233-152 | E1B-S-N | 13C,1H gHSQC | SSS | 600 | sched 2, 600 MHz | 323 | ns = 64, same settings as exp 113 (D2D-S-N)
4233-153 | E1B-S-N | 13C,1H gHSQC | SSS | 600 | sched 2, 600 MHz | 323 | ns = 128, same settings as exp 114 (D2E-S-N)
4233-154 | E1B-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 318 | ns = 64,
4233-155 | E1B-F-N | 13C,1H gHSQC | NIST-Fab | 600 | sched 2, 600 MHz | 318 | ns = 64; same settings as exp D3B
4233-156 | E1B-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 318 | ns = 256,
4233-157 | E1B-F-N | 13C,1H gHSQC | NIST-Fab | 600 | sched 2, 600 MHz | 318 | ns = 256, same settings as exp 116 (D3B-F-N)
4233-158 | E1B-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 323 | ns = 64
4233-159 | E1B-F-N | 13C,1H gHSQC | NIST-Fab | 600 | sched 2, 600 MHz | 323 | ns = 64, same settings as exp 116 (D3B-F-N); 159&160 have different schedules
4233-160 | E1B-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 323 | ns = 256
4233-161 | E1B-F-N | 13C,1H gHSQC | NIST-Fab | 600 | Sched 2, 600 MHz | 323 | ns = 256, same settings as exp 116 (D3B-F-N)
4233-162 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310 | ns = 64, 4x less scans than exp 115, listed as E1B in log, re-labeled as D3A
4233-163 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 600 | Sched 2, 600 MHz | 310 | ns = 64, 4x less scans than exp 115, comment file listed as E1B, re-labeled as D3B
4233-164 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310 | ns = 256, listed as E1B in log, re-labeled as D3A
4233-165 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 600 | Sched 2, 600 MHz | 310 | ns = 256, same settings as exp 115, comment file listed as E1B, re-labeled as D3B
4233-166 | D2A-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 64
4233-167 | E1A-S-N | 13C,1H gHSQC | SSS | 600 | custom NUS | 310 | ns = 64, NUS list=Bruker's default, 128 reconstructed points in 13C
4233-168 | D2C-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 64,
4233-169 | E1A-S-N | 13C,1H gHSQC | SSS | 600 | custom NUS | 310 | ns = 64, NUS list=Bruker's default
4233-170 | E1A-S-N | 13C,1H gHSQC | SSS | 600 | custom NUS | 310 | ns = 128, NUS list=Bruker's default, settings as in "2E"
4233-171 | E2C-S-U | 15N,1H sfHMQC | SSS | 600 | US | 310 | ns = 64, other acquisition parameters the same as D1A
4233-172 | E1C-S-U | 13C,1H sfHMQC | SSS | 600 | US | 310 | ns = 64, sfhmqc, pC90 excitation; Reburp refocusing, other settings the same as exp 110 (D2A-S-U)
4233-173 | E1C-S-U | 13C,1H sfHMQC | SSS | 600 | US | 310 | ns = 64, Option: sofasthmqc-13C,TD=226,Excite=Pc_90degree,Refoc=Reburp, settings as "2C"
4233-174 | E1C-S-U | 13C,1H sfHMQC | SSS | 600 | US | 310 | ns = 64, sfhmqc, pC120 excitation; Rsnob refocusing, other settings the same as exp 110 (D2A-S-U)
4233-175 | E1C-S-U | 13C,1H sfHMQC | SSS | 600 | US | 310 | ns = 64, Option: sofasthmqc-13C,TD=226,Excite=Pc_120degree,Refoc=Rsnob, settings as "2C"
4233-176 | E1C-F-U | 13C,1H sfHMQC | NIST-Fab | 600 | US | 310 | ns = 128, Option:sofasthmqc-13C, Excite=Pc_90degree,Refoc=Reburp, TD=128 as in "2A"
4233-177 | E1C-F-U | 13C,1H sfHMQC | NIST-Fab | 600 | US | 310 | ns = 128, sfhmqc, Excite=Pc_90degree,Refoc=Reburp, TD=226 as in "3A"
4233-178 | E1C-F-U | 13C,1H sfHMQC | NIST-Fab | 600 | US | 310 | ns = 256, Option: sofasthmqc-13C, Excite=Pc_90degree,Refoc=Reburp, TD=128 as in "2A", NS=256;
4233-179 | E1C-F-U | 13C,1H sfHMQC | NIST-Fab | 600 | US | 310 | ns = 256, sfhmqc, pC90 excitation; Reburp refocusing, other settings the same as exp 115 (D3A-F-U), TD = 226
4233-180 | E1A-F-N | 13C,1H gHSQC | NIST-Fab | 600 | custom NUS | 310 | ns = 64, NUS list=Bruker's default, settings as in "2B",
4233-181 | E1A-F-N | 13C,1H gHSQC | NIST-Fab | 600 | custom NUS | 310 | ns = 64, NUS list=Bruker's default, settings as in "2D"
4233-182 | E1A-F-N | 13C,1H gHSQC | NIST-Fab | 600 | custom NUS | 310 | ns = 128, NUS list=Bruker's default, settings as in "2E"
4233-183 | E1A-F-N | 13C,1H gHSQC | NIST-Fab | 600 | SineBurst(Rob Power) NUS | 310 | ns = 64, NUS list=SineBurst(RobPower's), settings as in "2B"
4233-184 | E1A-F-N | 13C,1H gHSQC | NIST-Fab | 600 | SineBurst(Rob Power) NUS | 310 | ns = 64, NUS list=SineBurst(RobPower's), settings as in "2D"
4233-185 | E1A-F-N | 13C,1H gHSQC | NIST-Fab | 600 | SineBurst(Rob Power) NUS | 310 | ns = 128, NUS list=SineBurst(RobPower's), settings as in "2E"
4233-186 | E1A-F-N | 13C,1H gHSQC | NIST-Fab | 600 | SineGap(Rob Power) NUS | 310 | ns = 64, NUS list=SineGap(RobPower's), settings as in "2B"
4233-187 | E1A-F-N | 13C,1H gHSQC | NIST-Fab | 600 | SineGap(Rob Power) NUS | 310 | ns = 64, NUS list=SineGap(RobPower's), settings as in "2D"
4233-188 | E1A-F-N | 13C,1H gHSQC | NIST-Fab | 600 | SineGap(Rob Power) NUS | 310 | ns = 128, NUS list=SineGap(RobPower's), settings as in "2E"

## 4533
Key
Participant Code | 4533 | randomized code assigned by NAPT
Field Strength (MHz) | 600
Comments | Accepted | Note: This partner did not perform any of the required experiments
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
4533-001 | methanol | 1D-1H | MeOD | 600 MHz
4533-002 | 1D | 1D 1H | SSS | 600 |  | 323
4533-003 | E2B-S-U | 15N,1H pHSQC | SSS | 600 | US | 323 | ns = 90; folded peaks in 15N dimension, only used 34 ppm SW instead of 40 ppm
4533-004 | E1B-S-U | 13C,1H gHSQC | SSS | 600 | US | 323 | ns = 64
4533-005 | 1D | 1D 1H | SSS | 600 |  | 323
4533-006 | 1D | 1D 1H | SSS | 600 |  | 323
4533-007 | E1B-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 323 | ns = 272
4533-008 | 1D | 1D 1H | SSS | 600 |  | 323 | ns = 272

## 5417
Key
Participant Code | 5417 | randomized code assigned by NAPT
Field Strength (MHz) | 600 | 750
Comments | Accepted
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
5417-101 | D1A-S-U | 15N,1H gHSQC | SSS | 600 | US | 310 | ns = 64
5417-102 | D2A-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 64
5417-103 | D2B-S-N | 13C,1H gHSQC | SSS | 600 | Sched 1 | 310 | ns = 64
5417-104 | D2C-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 64
5417-105 | D2D-S-N | 13C,1H gHSQC | SSS | 600 | Sched 2, 600 MHz | 310 | ns = 64
5417-106 | D2E-S-N | 13C,1H gHSQC | SSS | 600 | Sched 2, 600 MHz | 310 | ns = 128
5417-107 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310 | ns = 512
5417-108 | D3B-F-U | 13C,1H gHSQC | NIST-Fab | 600 | Sched 2, 600 MHz | 310 | ns = 512
5417-109 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310 | ns = 256
5417-110 | D3B-F-U | 13C,1H gHSQC | NIST-Fab | 600 | Sched 2, 600 MHz | 310 | ns = 256
5417-111 | D1A-S-U | 15N,1H gHSQC | SSS | 750 | US | 310 | ns = 64
5417-112 | D2A-S-U | 13C,1H gHSQC | SSS | 750 | US | 310 | ns = 64
5417-113 | D2B-S-N | 13C,1H gHSQC | SSS | 750 | Sched 1 | 310 | ns = 64
5417-114 | D2C-S-U | 13C,1H gHSQC | SSS | 750 | US | 310 | ns = 64
5417-115 | D2D-S-N | 13C,1H gHSQC | SSS | 750 | Sched 2, 750 MHz | 310 | ns = 64
5417-116 | D2E-S-N | 13C,1H gHSQC | SSS | 750 | Sched 2, 750 MHz | 310 | ns = 128
5417-117 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 750 | US | 310 | ns = 208
5417-118 | D3B-F-U | 13C,1H gHSQC | NIST-Fab | 750 | Sched 2, 750 MHz | 310 | ns = 208
5417-119 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 750 | US | 310 | ns = 512
5417-120 | D3B-F-U | 13C,1H gHSQC | NIST-Fab | 750 | Sched 2, 750 MHz | 310 | ns = 512

## 5422
Key
Participant Code | 5422 | randomized code assigned by NAPT
Field Strength (MHz) | 600
Comments | accepted
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
5422-101 | D1A-S-U | 15N,1H gHSQC | SSS | 600 | US | 310 | ns = 80
5422-102 | D2A-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 32
5422-103 | D2B-S-N | 13C,1H gHSQC | SSS | 600 | Sched 1 | 310 | ns = 32
5422-104 | D2C-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 32
5422-105 | D2D-S-N | 13C,1H gHSQC | SSS | 600 | sched 2, 600 MHz | 310 | ns = 32
5422-106 | D2E-S-N | 13C,1H gHSQC | SSS | 600 | sched 2, 600 MHz | 310 | ns = 64
5422-107 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310 | ns = 300
5422-108 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 600 | sched 2, 600 MHz | 310 | ns = 300

## 5479
Key
Participant Code | 5479 | randomized code assigned by NAPT
Field Strength (MHz) | 600 MHz
Comments | accepted | Custom NUS Schedules |  | NUS scheduled generated in Topspin.
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
5479-101 | E2-S-U | 15N,1H gHSQC | SSS | 600 | US | 310 | ns = 128, Note: performed with shorter sweepwidth in 15N dimension
5479-102 | D2A-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 128
5479-103 | E1A-S-N | 13C,1H gHSQC | SSS | 600 | custom NUS schedule | 310 | ns = 128, CUSTOM NUS SCHEDULE
5479-104 | D2C-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 128
5479-105 | D2D-S-N | 13C,1H gHSQC | SSS | 600 | Sched 2, 600 MHz | 310 | ns = 128
5479-106 | D2E-S-N | 13C,1H gHSQC | SSS | 600 | Sched 2, 600 MHz | 310 | ns = 256
5479-107 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310 | ns = 256
5479-108 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310 | ns = 512
5479-109 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 600 | Sched 2, 600 MHz | 310 | ns = 256
5479-110 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 600 | Sched 2, 600 MHz | 310 | ns = 512

## 5487
Key
Participant Code | 5487 | randomized code assigned by NAPT
Field Strength (MHz) | 850 MHz
Comments | ACCEPTED
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
5487-001 | D1A-S-U | 15N,1H gHSQC | SSS | 700 | US | 310 | ns = 80
5487-002 | D2A-S-U | 13C,1H gHSQC | SSS | 700 | US | 310 | ns = 48
5487-003 | D2B-S-N | 13C,1H gHSQC | SSS | 700 | Sched 1 | 310 | ns = 48
5487-004 | D2C-S-U | 13C,1H gHSQC | SSS | 700 | US | 310 | ns = 48
5487-005 | D2D-S-N | 13C,1H gHSQC | SSS | 700 | Sched 2, 850 MHz | 310 | ns = 48
5487-006 | D2E-S-N | 13C,1H gHSQC | SSS | 700 | Sched 2, 850 MHz | 310 | ns = 96
5487-007 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 700 | US | 310 | ns =384
5487-008 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 700 | Sched 2, 850 MHz | 310 | ns = 384

## 6211
Key
Participant Code | 6211 | randomized code assigned by NAPT
Field Strength (MHz) | 800 MHz
Comments | ACCEPTED | Note: NUS spectra collected on Topspin 2 using a vclist. The dispersive CH2 peaks are due to a pulse program error.
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
6211-401 | E2-S-U | 15N,1H gHSQC | SSS | 800 | US | 310 | ns = 256; Note: performed with shorter sweepwidth in 15N dimension; missing several peaks
6211-402 | D2A-S-U | 13C,1H gHSQC | SSS | 800 | US | 310 | ns = 96
6211-403 | D2B-S-N | 13C,1H gHSQC | SSS | 800 | Sched 1 | 310 | ns = 96, peak shape problem, data kept for analysis
6211-404 | D2C-S-N | 13C,1H gHSQC | SSS | 800 | US | 310 | ns = 96
6211-405 | D2B-S-N | 13C,1H gHSQC | SSS | 800 | Sched 1 | 310 | ns = 96, used NIST NUS schedule 1,CH2 peaks cannot be phased
6211-406 | D2B-S-N | 13C,1H gHSQC | SSS | 800 | Sched 1 | 310 | used NIST NUS schedule 1,CH2 peaks cannot be phased
6211-407 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 800 | US | 310
6211-408 | E1A-F-N | 13C,1H gHSQC | NIST-Fab | 800 | Sched 1 | 310 | used NIST NUS schedule 1, since NIST-Fab sample, classified as E1A; CH2 peaks cannot be phased
6211-409 | D2B-S-N | 13C,1H gHSQC | SSS | 800 | Sched 1 | 310 | ns=96; used NIST NUS schedule 1
6211-410 | D2D-S-N | 13C,1H gHSQC | SSS | 800 | Sched 2, 800 MHz | 310 | CH2 peaks cannot be phased
6211-411 | D2E-S-N | 13C,1H gHSQC | SSS | 800 | Sched 2, 800 MHz | 310 | CH2 peaks cannot be phased
6211-412 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 800 | Sched 2, 800 MHz | 310 | CH2 peaks cannot be phased

## 6272
Key
Participant Code | 6272 | randomized code assigned by NAPT
Field Strength (MHz) | 800 | 600
Comments | ACCEPTED | Note: NUS spectra collected on Topspin 2 using a vclist. The dispersive CH2 peaks are due to a pulse program error.
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
6272-001 | E2-S-U | 15N,1H gHSQC | SSS | 800 | US | 310 | ns = 2048; Note: performed with shorter sweepwidth in 15N dimension
6272-002 | E2-S-U | 15N,1H gHSQC | SSS | 800 | US | 310 | ns = 512; Note: performed with shorter sweepwidth in 15N dimension
6272-003 | D2A-S-U | 13C,1H gHSQC | SSS | 800 | US | 310 | ns = 1024
6272-004 | D2A-S-U | 13C,1H gHSQC | SSS | 800 | US | 310 | ns = 512
6272-005 | D2B-S-N | 13C,1H gHSQC | SSS | 800 | sched 1 | 310 | ns = 512, CH2 peaks cannot be phased
6272-006 | D2C-S-U | 13C,1H gHSQC | SSS | 800 | US | 310 | ns = 1024
6272-007 | D2C-S-U | 13C,1H gHSQC | SSS | 800 | US | 310 | ns = 512
6272-008 | D2D-S-N | 13C,1H gHSQC | SSS | 800 | sched 2, 800 MHz | 310 | ns = 512, CH2 peaks cannot be phased
6272-009 | D2E-S-N | 13C,1H gHSQC | SSS | 800 | sched 2, 800 MHz | 310 | ns = 1024, CH2 peaks cannot be phased
6272-010 | D2D-S-N | 13C,1H gHSQC | SSS | 800 | sched 2, 800 MHz | 310 | ns = 512, labeled as D2E, but appears to be same parameters as 6272-008. Relabeled as D2D; CH2 peaks cannot be phased
6272-011 | E2B-S-U | 15N,1H pHSQC | SSS | 800 | US | 310 | ns = 512, Suggested Exp 1, narrow 15N SW
6272-012 | E2C-S-U | 15N,1H sfHMQC | SSS | 800 | US | 310 | ns = 512, Suggested Exp 2, sfHMQC, narrow 15N SW
6272-013 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 800 | US | 310 | ns = 2048
6272-014 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 800 | sched 2, 800 MHz | 310 | ns = 2048,CH2 peaks cannot be phased
6272-015 | E2-S-U | 15N,1H gHSQC | SSS | 600 | US | 310 | ns = 2048, Note: performed with shorter sweepwidth in 15N dimension
6272-016 | D2A-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 2048
6272-017 | D2B-S-N | 13C,1H gHSQC | SSS | 600 | Sched 1 | 310 | ns = 2048, Note: CH2 peaks cannot be phased
6272-018 | D2C-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 2048
6272-019 | D2D-S-N | 13C,1H gHSQC | SSS | 600 | sched 2, 600 MHz | 310 | ns = 2048, Note:CH2 peaks cannot be phased
6272-020 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310 | ns = 2048
6272-021 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 600 | sched 2, 600 MHz | 310 | ns = 2048, note: CH2 peaks cannot be phased

## 6324
Key
Participant Code | 6324 | randomized code assigned by NAPT
Field Strength (MHz) | 850 | 600
Comments | ACCEPTED | Custom NUS Schedules |  | used Topspin 3.2
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
6324-001 | D1A-S-U | 15N,1H gHSQC | SSS | 850 | US | 310 | ns = 128
6324-002 | E2N-S-N | 15N,1H gHSQC | SSS | 850 | custom, 136 total pts, 50% NUS | 310 | ns = 128
6324-003 | E2B-S-U | 15N,1H pHSQC | SSS | 850 | US | 310 | ns = 128
6324-004 | D2A-S-U | 13C,1H gHSQC | SSS | 850 | US | 310 | ns = 16
6324-005 | E1A-S-N | 13C,1H gHSQC | SSS | 850 | custom, 136 total pts, 50% NUS | 310 | ns = 16, Used custom NUS schedule
6324-006 | D2C-S-U | 13C,1H gHSQC | SSS | 850 | US | 310 | ns = 16
6324-007 | E1A-S-N | 13C,1H gHSQC | SSS | 850 | custom, 25 ms, 50 NUS | 310 | ns = 16, Used custom NUS schedule
6324-008 | E1A-S-N | 13C,1H gHSQC | SSS | 850 | custom, 25 ms, 50 NUS | 310 | ns = 32, Used custom NUS schedule
6324-009 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 850 | US | 310 | ns = 256
6324-010 | E1A-F-N | 13C,1H gHSQC | NIST-Fab | 850 | custom, 25 ms, 50 NUS | 310 | ns = 256, Used custom NUS schedule
6324-011 | E2A-S-U | 15N,1H gHSQC | SSS | 850 | US | 318 | ns = 128
6324-012 | E2A-S-U | 15N,1H gHSQC | SSS | 850 | US | 298 | ns = 128
6324-013 | E2A-S-U | 15N,1H gHSQC | SSS | 850 | US | 288 | ns = 128
6324-014 | E1B-S-U | 13C,1H gHSQC | SSS | 850 | US | 318 | ns = 16
6324-015 | E1B-S-U | 13C,1H gHSQC | SSS | 850 | US | 298 | ns = 16
6324-016 | E1B-S-U | 13C,1H gHSQC | SSS | 850 | US | 288 | ns = 16
6324-017 | D2A-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 16
6324-018 | D2B-S-N | 13C,1H gHSQC | SSS | 600 | Sched 1 | 310 | ns = 16, Used custom NUS schedule
6324-019 | D2C-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 16
6324-020 | D2D-S-N | 13C,1H gHSQC | SSS | 600 | Sched 2, 600 MHz | 310 | ns = 16, Used custom NUS schedule
6324-021 | D2E-S-N | 13C,1H gHSQC | SSS | 600 | Sched 2, 600 MHz | 310 | ns = 32, Used custom NUS schedule
6324-022 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310 | ns = 400
6324-023 | E1A-F-N | 13C,1H gHSQC | NIST-Fab | 600 | custom, 216 total pts, 52% NUS | 310 | ns = 400, Used custom NUS schedule

## 7244
Key
Participant Code | 7244 | randomized code assigned by NAPT
Field Strength (MHz) | 600 MHz | 800 MHz
Comments | accepted | Note: special processing required for 800 MHz data; 13C decoupler caused T1 artifacts in HC spectra
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
7244-001 | methanol | 1D-1H | MeOD | 600
7244-002 | methanol | 1D-1H | MeOD | 600
7244-003 | methanol | 1D-1H | MeOD | 600
7244-004 | D2A-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | dispersive peaks in 1H dimension that cannot be phased
7244-005 | D1A-S-U | 15N,1H gHSQC | SSS | 600 | US | 310 | low S/N
7244-006 | D2B-S-N | 13C,1H gHSQC | SSS | 600 | Sched 1 | 310 | dispersive peaks in 1H dimension that cannot be phased
7244-007 | D2C-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | dispersive peaks in 1H dimension that cannot be phased
7244-008 | D2D-S-N | 13C,1H gHSQC | SSS | 600 | Sched 2, 600 MHz | 310 | dispersive peaks in 1H dimension that cannot be phased
7244-009 | D2C-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | labeled D2E but run with US. Relabled as D2C-type experiment; dispersive peaks in 1H dimension that cannot be phased
7244-010 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 |  | 310
7244-011 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 600 | Sched 2, 600 MHz | 310
7244-012 | methanol | 1D-1H |  | 800
7244-013 | D2A-S-U | 13C,1H gHSQC | SSS | 800 | US | 310 | significant artifacts - vertical stripes throughout spectrum
7244-014 | D1A-S-U | 15N,1H gHSQC | SSS | 800 | US | 310 | low S/N
7244-015 | D2B-S-N | 13C,1H gHSQC | SSS | 800 | Sched 1 | 310 | significant artifacts - vertical stripes throughout spectrum
7244-016 | D2C-S-U | 13C,1H gHSQC | SSS | 800 | US | 310 | significant artifacts - vertical stripes throughout spectrum
7244-017 | D2D-S-N | 13C,1H gHSQC | SSS | 800 | Sched 2, 800 MHz | 310 | significant artifacts - vertical stripes throughout spectrum
7244-018 | D2E-S-N | 13C,1H gHSQC | SSS | 800 | Sched 2, 800 MHz | 310 | significant artifacts - vertical stripes throughout spectrum
7244-019 | D3A-S-U | 13C,1H gHSQC | NIST-Fab | 800 | US | 310 | significant artifacts - vertical stripes throughout spectrum
7244-020 | D3B-S-N | 13C,1H gHSQC | NIST-Fab | 800 | Sched 2, 800 MHz | 310 | significant artifacts - vertical stripes throughout spectrum

## 7425
Key
Participant Code | 7425 | randomized code assigned by NAPT
Field Strength (MHz) | 800 MHz | 900 MHz
Comments | accepted
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
7425-001 | D1A-S-U | 15N,1H gHSQC | SSS | 800 | US | 310 | ns = 48
7425-002 | D2A-S-U | 13C,1H gHSQC | SSS | 800 | US | 310 | ns = 16
7425-003 | D2B-S-N | 13C,1H gHSQC | SSS | 800 | Sched 1 | 310 | ns = 16
7425-004 | D2C-S-U | 13C,1H gHSQC | SSS | 800 | US | 310 | ns = 16
7425-005 | D2D-S-N | 13C,1H gHSQC | SSS | 800 | Sched 2, 800 MHz | 310 | ns = 16
7425-006 | D2E-S-N | 13C,1H gHSQC | SSS | 800 | Sched 2, 800 MHz | 310 | ns = 32
7425-007 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 800 | US | 310 | ns = 128
7425-008 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 800 | Sched 2, 800 MHz | 310 | ns = 128
7425-009 | D1A-S-U | 15N,1H gHSQC | SSS | 900 | US | 310 | ns = 48
7425-010 | D2A-S-U | 13C,1H gHSQC | SSS | 900 | US | 310 | ns = 16
7425-011 | D2B-S-N | 13C,1H gHSQC | SSS | 900 | Sched 1 | 310 | ns = 16
7425-012 | D2C-S-U | 13C,1H gHSQC | SSS | 900 | US | 310 | ns = 16
7425-013 | D2D-S-N | 13C,1H gHSQC | SSS | 900 | Sched 2, 900 MHz | 310 | ns = 16
7425-014 | D2E-S-N | 13C,1H gHSQC | SSS | 900 | Sched 2, 900 MHz | 310 | ns = 32
7425-015 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 900 | US | 310 | ns = 128
7425-016 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 900 | Sched 2, 900 MHz | 310 | ns = 128

## 8179
Key
Participant Code | 8179 | randomized code assigned by NAPT
Field Strength (MHz) | 500 MHz
Comments | accepted | Custom NUS Schedules: used unknown algorithm to generate custom NUS schedules throughout
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
8179-301 | D1A-S-U | 15N,1H gHSQC | SSS | 500 | US | 310 | ns = 128
8179-302 | D2A-S-U | 13C,1H gHSQC | SSS | 500 | US | 310 | ns = 70
8179-303 | E1A-S-N | 13C,1H gHSQC | SSS | 500 | custom, 118 total pts, 54.2% | 310 | ns = 70, Notes indicate NIST NUS schedule, used custom schedule
8179-304 | D2C-S-U | 13C,1H gHSQC | SSS | 500 | US | 310 | ns = 128
8179-305 | E1A-S-N | 13C,1H gHSQC | SSS | 500 | custom, 25 ms, 50.5% | 310 | ns = 128, Notes indicate NIST NUS schedule, used custom schuedle
8179-306 | E1A-S-N | 13C,1H gHSQC | SSS | 500 | custom, 25 ms, 50.5% | 310 | ns = 256, Notes indicate NIST NUS schedule, used custom schedule
8179-307 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 500 | US | 310 | ns = 700
8179-308 | E1A-F-N | 13C,1H gHSQC | NIST-Fab | 500 | custom, 25 ms, 50.5% | 310 | ns = 700, Notes indicate NIST NUS schedule, used custom schedule
8179-309 | E2A-S-U | 15N,1H gHSQC | SSS | 500 | US | 298 | ns = 128, HSQCETF3GPSI
8179-310 | E2B-S-U | 15N,1H pHSQC | SSS | 500 | US | 310 | ns = 128, hsqcfpf3gpphwg; poor water suppression
8179-311 | E2C-S-U | 15N,1H pHSQC | SSS | 500 | US | 310 | ns = 100,sfhmqcf3pgph; note: shorter 15N sweep width
8179-312 | E1B-S-U | 13C,1H gHSQC | SSS | 500 | US | 298 | ns = 128, HSQCETGPSI
8179-313 | E1A-S-N | 13C,1H gHSQC | SSS | 500 | custom, 25 ms, 50.5% | 310 | ns = 128, HSQCETGPSI

## 8473
Key
Participant Code | 8473 | randomized code assigned by NAPT
Field Strength (MHz) | 700 MHz
Comments | accepted
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
8473-001 | E2-S-U | 15N,1H gHSQC | SSS | 700 | US | 310 | ns = 256, Note: performed with shorter sweepwidth in 15N dimension
8473-002 | D2A-S-U | 13C,1H gHSQC | SSS | 700 | US | 310 | ns = 256
8473-003 | D2B-S-N | 13C,1H gHSQC | SSS | 700 | Sched 1 | 310 | ns = 256
8473-004 | D2C-S-N | 13C,1H gHSQC | SSS | 700 | US | 310 | ns = 256
8473-005 | D2D-S-N | 13C,1H gHSQC | SSS | 700 | Sched 2, 700 MHz | 310 | ns = 256
8473-006 | D2E-S-N | 13C,1H gHSQC | SSS | 700 | Sched 2, 700 MHz | 310 | ns = 512
8473-007 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 700 | US | 310 | ns = 256
8473-008 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 700 | Sched 2, 700 MHz | 310 | ns = 256

## 8495
Key
Participant Code | 8495 | randomized code assigned by NAPT
Field Strength (MHz) | 700 MHz | 900 MHz
Comments | accepted
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
8495-001 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 700 | US | 310 | ns = 256
8495-002 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 700 | Sched 2, 700 MHz | 310 | ns = 256
8495-003 | D1A-S-U | 15N,1H gHSQC | SSS | 700 | US | 310 | ns = 64
8495-004 | D2A-S-U | 13C,1H gHSQC | SSS | 700 | US | 310 | ns = 64
8495-005 | D2B-S-N | 13C,1H gHSQC | SSS | 700 | Sched 1, 700 MHz | 310 | ns = 64
8495-006 | D2C-S-U | 13C,1H gHSQC | SSS | 700 | US | 310 | ns = 64
8495-007 | D2D-S-N | 13C,1H gHSQC | SSS | 700 | Sched 2, 700 MHz | 310 | ns = 64
8495-008 | D2E-S-N | 13C,1H gHSQC | SSS | 700 | Sched 2, 700 MHz | 310 | ns = 128
8495-009 | D1A-S-U | 15N,1H gHSQC | SSS | 900 | US | 310 | ns = 64
8495-010 | D2A-S-U | 13C,1H gHSQC | SSS | 900 | US | 310 | ns = 32
8495-011 | D2B-S-N | 13C,1H gHSQC | SSS | 900 | Sched 1, 900 MHz | 310 | ns = 32
8495-012 | D2C-S-U | 13C,1H gHSQC | SSS | 900 | US | 310 | ns = 32
8495-013 | D2D-S-N | 13C,1H gHSQC | SSS | 900 | Sched 2, 900 MHz | 310 | ns = 32
8495-014 | D2E-S-N | 13C,1H gHSQC | SSS | 900 | Sched 2, 900 MHz | 310 | ns = 64
8495-015 | E1-F-U | 13C,1H gHSQC | NIST-Fab | 900 | US | 310 | ns = 256, '13C_HSQC_analog_Exp_2A
8495-016 | E1-F-N | 13C,1H gHSQC | NIST-Fab | 900 | Sched 1, 900 MHz | 310 | ns = 256, '13C_HSQC_analog_Exp_2B
8495-017 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 900 | US | 310 | ns = 256
8495-018 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 900 | Sched 2, 900 MHz | 310 | ns = 256
8495-019 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 900 | Sched 2, 900 MHz | 310 | ns = 512, time equivalent to experiment -018 but did not to assign separate code
8495-020 | E1-F-U | 13C,1H gHSQC | NIST-Fab | 700 | US | 310 | ns = 256, '13C_HSQC_analog_Exp_2A
8495-021 | E1-F-N | 13C,1H gHSQC | NIST-Fab | 700 | Sched 1, 700 MHz | 310 | ns = 256, '13C_HSQC_analog_Exp_2B

## 8543
Key
Participant Code | 8543 | randomized code assigned by NAPT
Field Strength (MHz) | 700 MHz
Comments | accepted | Custom NUS Schedules |  | Topspin 3.0 used for custom NUS schedules.
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
8543-001 | D1A-S-U | 15N,1H gHSQC | SSS | 700 | US | 310 | ns = 128
8543-002 | D2A-S-U | 13C,1H gHSQC | SSS | 700 | US | 310 | ns = 256
8543-003 | E1A-S-N | 13C,1H gHSQC | SSS | 700 | custom, 128 total pts; 25 % | 310 | ns = 256, custom NUS schedule
8543-004 | D2C-S-U | 13C,1H gHSQC | SSS | 700 | US | 310 | ns = 256
8543-005 | E1A-S-N | 13C,1H gHSQC | SSS | 700 | custom, 700 MHz | 310 | ns = 256, custom NUS schedule
8543-006 | E1A-S-N | 13C,1H gHSQC | SSS | 700 | custom, 700 MHz | 310 | ns = 512, custom NUS schedule
8543-007 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 700 | US | 310 | ns = 224
8543-008 | E1A-F-N | 13C,1H gHSQC | NIST-Fab | 700 | custom, 25ms, 50 % | 310 | ns = 224, custom NUS schedule
8543-009 | E1A-F-N | 13C,1H gHSQC | NIST-Fab | 700 | custom, 25ms, 50 % | 310 | ns = 224, custom NUS schedule

## 8822
Key
Participant Code | 8822 | randomized code assigned by NAPT
Field Strength (MHz) | 600 | 900 | 600
Comments | accepted
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
8822-007 | D1A-S-U | 15N,1H gHSQC | SSS | 900 | US | 310
8822-008 | D2A-S-U | 13C,1H gHSQC | SSS | 900 | US | 310
8822-009 | D2B-S-N | 13C,1H gHSQC | SSS | 900 | Sched 1 | 310
8822-010 | D2C-S-U | 13C,1H gHSQC | SSS | 900 | US | 310
8822-011 | D2D-S-N | 13C,1H gHSQC | SSS | 900 | Sched 2,900 | 310
8822-012 | D2E-S-N | 13C,1H gHSQC | SSS | 900 | Sched 2,900 | 310
8822-013 | E2B-S-U | 15N,1H gHSQC | SSS | 900 | US | 310 | hsqcfpf3gpphwg
8822-014 | E2C-S-U | 15N,1H sfHMQC | SSS | 900 | US | 310 | sfhmqcf3gpph, Pc9.90 excitation pulse: 1500 us; Reburp.1000 180 pulse = 1162 us; bandwidth 5.55 ppm; cnst19 = 8.25 ppm; d1 = 0.4 s; F2 acquisition time = 50 ms
8822-015 | E1C-S-U | 13C,1H sfHMQC | SSS | 900 | US | 310 | sfhmqcf2gpph, Pc9.90 excitation pulse: 1878 us; Reburp.1000 180 pulse = 1453 us; bandwidth 4.44 ppm; cnst19 = 0.00 ppm; d1 = 0.4 s; F2 acquisition time = 50 ms
8822-016 | E1C-S-N | 13C,1H sfHMQC | SSS | 900 | Sched 2,900 | 310 | sfhmqcf2gpph, Pc9.90 excitation pulse: 1878 us; Reburp.1000 180 pulse = 1453 us; bandwidth 4.44 ppm; cnst19 = 0.00 ppm; d1 = 0.4 s; F2 acquisition time = 50 ms
8822-017 | D1A-S-U | 15N,1H gHSQC | SSS | 900 | US | 310 | 2x NS as 8822-007
8822-018 | E1B-S-U | 13C,1H gHSQC | SSS | 900 | US | 318
8822-019 | E1B-S-N | 13C,1H gHSQC | SSS | 900 | Sched 2,900 | 318
8822-020 | E2A-S-U | 15N,1H gHSQC | SSS | 900 | US | 318
8822-021 | E1B-S-U | 13C,1H gHSQC | SSS | 900 | US | 298
8822-022 | E1B-S-N | 13C,1H gHSQC | SSS | 900 | Sched 2,900 | 298
8822-023 | E2A-S-U | 15N,1H gHSQC | SSS | 900 | US | 298
8822-024 | E1B-S-U | 13C,1H gHSQC | SSS | 900 | US | 288
8822-025 | E1B-S-N | 13C,1H gHSQC | SSS | 900 | Sched 2,900 | 288
8822-026 | E2A-S-U | 15N,1H gHSQC | SSS | 900 | US | 288
8822-027 | E2A-S-U | 15N,1H gHSQC | SSS | 900 | US | 288 | NS 2x from 8822-026
8822-028 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 900 | US | 310
8822-029 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 900 | Sched 2,900 | 310
8822-030 | E2C-F-N | 15N,1H sfHMQC | NIST-Fab | 900 | custom NUS | 310 | sfhmqcf3gpph, Pc9.90 excitation pulse: 1500 us; Reburp.1000 180 pulse = 1162 us; bandwidth 5.55 ppm; cnst19 = 8.25 ppm; d1 = 0.4 s; F2 acquisition time = 50 ms
8822-031 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 900 | US | 310 | 1st of 4 experiments before co-addition
8822-032 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 900 | US | 310 | co-addition of 4 experiments
8822-071 | E2N-S-N | 15N,1H gHSQC | SSS | 900 | custom NUS | 310 | ID code is correct
8822-033 | D1A-S-U | 15N,1H gHSQC | SSS | 600 | US | 310
8822-034 | D2A-S-U | 13C,1H gHSQC | SSS | 600 | US | 310
8822-035 | D2B-S-N | 13C,1H gHSQC | SSS | 600 | Sched 1 | 310
8822-036 | D2C-S-U | 13C,1H gHSQC | SSS | 600 | US | 310
8822-037 | D2D-S-N | 13C,1H gHSQC | SSS | 600 | Sched 2,600 | 310
8822-038 | D2E-S-N | 13C,1H gHSQC | SSS | 600 | Sched 2,600 | 310
8822-039 | E2B-S-U | 15N,1H pHSQC | SSS | 600 | US | 310 | hsqcfpf3gpphwg
8822-040 | E2C-S-U | 15N,1H sfHMQC | SSS | 600 | US | 310 | sfhmqcf3gpph, Pc9.90 excitation pulse: 2242 us; Reburp.1000 180 pulse = 1385 us; bandwidth 5.58 ppm; cnst19 = 8.25 ppm; d1 = 0.4 s; F2 acquisition time = 50 ms; US data
8822-041 | E1C-S-U | 13C,1H sfHMQC | SSS | 600 | US | 310 | sfhmqcf2gpph, Pc9.90 excitation pulse: 2782 us; Reburp.1000 180 pulse = 1785 us; bandwidth 4.50 ppm; cnst19 = 0.00 ppm; d1 = 0.4 s; F2 acquisition time = 50 ms
8822-042 | E1C-S-N | 13C,1H sfHMQC | SSS | 600 | Sched 2,600 | 310 | sfhmqcf2gpph, Pc9.90 excitation pulse: 1878 us; Reburp.1000 180 pulse = 1453 us; bandwidth 4.44 ppm; cnst19 = 0.00 ppm; d1 = 0.4 s; F2 acquisition time = 50 ms
8822-043 | E2A-S-U | 15N,1H gHSQC | SSS | 600 | US | 298
8822-044 | E2B-S-U | 15N,1H gHSQC | SSS | 600 | US | 298 | SSS, Experiment E2b, hsqcfpf3gpphwg, d1 = 1.0s, 298K
8822-045 | E1B-S-U | 13C,1H gHSQC | SSS | 600 | US | 298
8822-046 | E1B-S-N | 13C,1H gHSQC | SSS | 600 | Sched 2,600 | 298
8822-047 | E2C-S-U | 15N,1H sfHMQC | SSS | 600 | US | 298 | sfhmqcf3gpph, Pc9.90 excitation pulse: 2242 us; Reburp.1000 180 pulse = 1385 us; bandwidth 5.58 ppm; cnst19 = 8.25 ppm; d1 = 0.4 s; F2 acquisition time = 50 ms
8822-048 | E1C-S-U | 13C,1H sfHMQC | SSS | 600 | US | 298 | sfhmqcf2gpph, Pc9.90 excitation pulse: 2782 us; Reburp.1000 180 pulse = 1785 us; bandwidth 4.50 ppm; cnst19 = 0.00 ppm; d1 = 0.4 s; F2 acquisition time = 50 ms
8822-049 | E1C-S-N | 13C,1H sfHMQC | SSS | 600 | Sched 2,600 | 298 | sfhmqcf2gpph, Pc9.90 excitation pulse: 1878 us; Reburp.1000 180 pulse = 1453 us; bandwidth 4.44 ppm; cnst19 = 0.00 ppm; d1 = 0.4 s; F2 acquisition time = 50 ms
8822-050 | E2A-S-U | 15N,1H gHSQC | SSS | 600 | US | 318
8822-051 | E1B-S-U | 13C,1H gHSQC | SSS | 600 | US | 318
8822-052 | E1B-S-N | 13C,1H gHSQC | SSS | 600 | Sched 2,600 | 318
8822-053 | E2C-S-U | 15N,1H sfHMQC | SSS | 600 | US | 318 | sfhmqcf3gpph, Pc9.90 excitation pulse: 2242 us; Reburp.1000 180 pulse = 1385 us; bandwidth 5.58 ppm; cnst19 = 8.25 ppm; d1 = 0.4 s; F2 acquisition time = 50 ms
8822-054 | E1C-S-U | 13C,1H sfHMQC | SSS | 600 | US | 318 | sfhmqcf2gpph, Pc9.90 excitation pulse: 1878 us; Reburp.1000 180 pulse = 1453 us; bandwidth 4.44 ppm; cnst19 = 0.00 ppm; d1 = 0.4 s; F2 acquisition time = 50 ms
8822-055 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310
8822-056 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 600 | Sched 2,600 | 310
8822-057 | E2C-F-N | 15N,1H sfHMQC | NIST-Fab | 600 | custom NUS | 310 | Pc9.90 excitation pulse: 2242 us; Reburp.1000 180 pulse = 1385 us; bandwidth 5.58 ppm; cnst19 = 8.25 ppm; d1 = 0.4 s; F2 acquisition time = 50 ms
8822-058 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310 | 1st of 4 experiments before co-addition
8822-059 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310 | co-addition of 4 experiments
second 600 magnet
8822-060 | D1A-S-U | 15N,1H gHSQC | SSS | 600 | US | 310
8822-061 | D2A-S-U | 13C,1H gHSQC | SSS | 600 | US | 310
8822-062 | D2B-S-N | 13C,1H gHSQC | SSS | 600 | Sched 1 | 310
8822-063 | D2C-S-U | 13C,1H gHSQC | SSS | 600 | US | 310
8822-064 | D2D-S-N | 13C,1H gHSQC | SSS | 600 | Sched 2,600 | 310
8822-065 | D2E-S-N | 13C,1H gHSQC | SSS | 600 | Sched 2,600 | 310
8822-066 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310 | air bubble developed in NMR tube
8822-067 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 600 | Sched 2,600 | 310 | air bubble developed in NMR tube
8822-068 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310
8822-069 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 600 | Sched 2,600 | 310
8822-070 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310 | co-addition of 4 experiments

## 9516
Key
Participant Code | 9516 | randomized code assigned by NAPT
Field Strength (MHz) | 700 MHz
Comments | accepted
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
9516-001 | D1A-S-U | 15N,1H gHSQC | SSS | 700 | US | 310 | ns = 64
9516-002 | D2A-S-U | 13C,1H gHSQC | SSS | 700 | US | 310 | ns = 16
9516-003 | D2B-S-N | 13C,1H gHSQC | SSS | 700 | Sched 1 | 310 | ns = 16
9516-004 | D2C-S-U | 13C,1H gHSQC | SSS | 700 | US | 310 | ns = 16
9516-005 | D2D-S-N | 13C,1H gHSQC | SSS | 700 | Sched 2, 700 MHz | 310 | ns = 16
9516-006 | D2E-S-N | 13C,1H gHSQC | SSS | 700 | Sched 2, 700 MHz | 310
9516-007 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 700 | US | 310 | ns = 64
9516-008 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 700 | Sched 2, 700 MHz | 310 | ns = 64

## 9936
Key
Participant Code | 9936 | randomized code assigned by NAPT
Field Strength (MHz) | 600
Comments | accepted
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
9936-001 | D2A-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 32
9936-002 | D2C-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 32
9936-003 | D2B-S-N | 13C,1H gHSQC | SSS | 600 | Sched 1 | 310 | ns = 32
9936-004 | D2D-S-N | 13C,1H gHSQC | SSS | 600 | Sched 2, 600 MHz | 310 | ns = 32
9936-005 | D2E-S-N | 13C,1H gHSQC | SSS | 600 | Sched 2, 600 MHz | 310 | ns = 64
9936-006 | E1C-S-U | 13C,1H sfHMQC | SSS | 600 | US | 310 | ns = 32, SOFAST-HMQC_using_sfhmqcf2gpph_pulse_sequence,_a_PC9_pulse_with_a_120_deg_flip_angle_and_a_4ppm_bandwidth,_a_REBURB_refocusing_pulse,_a_0.5-sec_relaxation_delay,_and_128_increments
9936-007 | E1C-S-U | 13C,1H sfHMQC | SSS | 600 | US | 310 | ns = 32; SOFAST-HMQC_using_sfhmqcf2gpph_pulse_sequence,_a_PC9_pulse_with_a_90_deg_flip_angle_and_a_4ppm_bandwidth,_a_REBURB_refocusing_pulse,_a_1.0-sec_relaxation_delay,_and_128_increments
9936-008 | D1A-S-U | 15N,1H gHSQC | SSS | 600 | US | 310 | ns = 128,
9936-009 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310 | ns = 256
9936-010 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 600 | Sched 2, 600 MHz | 310 | ns = 256

## 9963
Key
Participant Code | 9963 | randomized code assigned by NAPT
Field Strength (MHz) | 600
Comments | accepted | Note: NUS data collected without '0' point. A 360 1st order phase correction is required.
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
9963-001 | D1A-S-U | 15N,1H gHSQC | SSS | 600 | US | 310 | ns = 20
9963-002 | D2A-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 8
9963-003 | D2B-S-N | 13C,1H gHSQC | SSS | 600 | Sched 1 | 310 | ns = 8
9963-004 | D2C-S-U | 13C,1H gHSQC | SSS | 600 | US | 310 | ns = 8
9963-005 | D2D-S-N | 13C,1H gHSQC | SSS | 600 | Sched 2, 600 MHz | 310 | ns = 8
9963-006 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 600 | US | 310 | ns = 48
9963-007 | D3B-F-N | 13C,1H gHSQC | NIST-Fab | 600 | Sched 2, 600 MHz | 310 | ns = 48

## 9966
Key
Participant Code | 9966 | randomized code assigned by NAPT
Field Strength (MHz) | 500
Comments | accepted | Custom NUS Schedules |  | used Topspin to generate NUS schedules
Data Identity | Exp. Number | Exp Type | Sample | Field (MHz) | Sampling Schedule | Temperature (K) | Comments
9966-001 | D1A-S-U | 15N,1H gHSQC | SSS | 500 | US | 310 | ns = 80
9966-002 | D2A-S-U | 13C,1H gHSQC | SSS | 500 | US | 310 | ns = 24
9966-003 | E1A-S-N | 13C,1H gHSQC | SSS | 500 | custom, 118 total pts, 54.2 % | 310 | ns = 24
9966-004 | D2C-S-U | 13C,1H gHSQC | SSS | 500 | US | 310 | ns = 24
9966-005 | E1A-S-N | 13C,1H gHSQC | SSS | 500 | custom, 25 ms, 50 % | 310 | ns = 24, 25 ms acquisition time
9966-006 | D3A-F-U | 13C,1H gHSQC | NIST-Fab | 500 | US | 310 | ns = 192
9966-007 | E1A-F-N | 13C,1H gHSQC | NIST-Fab | 500 | custom, 25 ms, 50 % | 310 | ns = 48, 25 ms acquisition time